## Sheet1
Thermometer Data |  |  |  | Measurement Data °C
SUNPHOR | BZ-R6 |  |  |  | BZ-R6* | DF-11F**
|  | Min | Max | Subject1 | 36 | 36.3
Measurement range for minimum uncertainty °C |  | 36 | 39 | Subject2 | 36.5 | 36.6
uncertainty °C |  | 0.2 | 0.2 | Subject3 | 36.4 | 36.4
Measurement distance (cm) |  | 5 | 15
*Measurements done at 5cm
AlfaSafe | DT-11F |  |  | **All measurements done in the armpit
|  | Min | Max
Measurement range for minimum uncertainty °C |  | 35.5 | 42
uncertainty °C |  | 0.1 | 0.1